## Slide 2
Gas chromatography

## Slide 5: Gas Chromatography

## Slide 6: Carrier Gas-Supply
.

## Slide 10: Sample Injection System

## Slide 11: Sample Injection System

## Slide 13
Column Configurations
Two general types of columns are encountered in gas chromatography, packed and open tubular, or capillary.
Chromatographic columns vary in length from less than 5 m to 120 m or more. They are constructed of stainless steel, glass, fused silica, or Teflon.

## Slide 14: Types of Open Tubular Column
17
Wall-coated Open Tubular Support-coated Open Tubular
(WCOT)
(SCOT)
Porous Layer Open Tubular (PLOT)
Porous
Adsorbent
Liquid phase
Solid support coated
with liquid phase
FSOT: Fused-silica open tubular column

## Slide 16: Column Ovens

## Slide 17
Packed Columns
Packed columns are fabricated from glass, metal (stainless steel, copper, aluminum), or Teflon tubes that typically have lengths of 2 to 3 m and inside diameters of 2 to 4 mm.

## Slide 19: The Stationary Phase
Desirable properties for the immobilized liquid phase in a gas-liquid chromatographic column include: (1) low volatility (ideally, the boiling point of the liquid should be at 100oC higher than the maximum operating temperature for the column); (2) thermal stability; (3) chemical inertness; (4) solvent characteristics such that k` and  values for the solutes to be resolved fall within a suitable range.

## Slide 21: The Stationary Phase
Polar stationary phases contain functional groups such as Phenyl, –CN,--CO and –OH. Hydrocarbon-type stationary phase and dialkyl siloxanes are nonpolar, whereas polyester phases are highly polar. Polar solutes include alcohols, acids, and amines; solutes of medium polarity include ethers, ketones, and aldehydes.

## Slide 23
26

## Slide 24: Detection Systems
Characteristics of the Ideal Detector:
Adequate sensitivity
Good stability and reproducibility.
A linear response
A temperature range from room temperature to at least
400oC.
A short response time that is independent of flow rate.
High reliability and ease of use.
Similarity in response toward all solutes or a highly selective response toward one or more classes of solutes.
Nondestructive of sample.

## Slide 26: Flame Ionization Detectors (FID)

## Slide 27: Thermal Conductivity Detectors(TCD)

## Slide 28: Electron-Capture Detectors (ECD)
The effluent from the column is passed over a  emitter, usually nickel-63. An electron from the emitter causes ionization of the carrier gas and the production of a burst of electrons. In the absence of organic species, a constant standing current between a pair of electrodes results from this ionization process. The current decreases markedly, however, in the presence of those organic molecules that tend to capture electrons.
It is insensitive to functional groups such as amines, alcohols,
and hydrocarbons.
An important application of the electron-capture detector has been for the detection and determination of chlorinated insecticides.

## Slide 29: GC/MS